Title: Analysis of Harmonics in wind power plants

Description summary: The new wind power plants rely on power electronics which do not provide an ideal sinusoidal waves forms. Because of this and the strict requirements of power quality demanded by the Transmission System and wind power plant operator, determine the harmonic content of wind power plants based on Full Rated Converter Wind Turbines is of relevance. The main objective is to understand and analyze the harmonic content taking place in wind power plants when installing FRC‐WTs. Standards and grid codes review regarding harmonic distortion must be performed. Also, some simplified modeling of wind turbines for harmonic content analysis and simulation for verification is expected.

1. Theoretical introduction
  1. Power electronics in WPP
    1. Nonlinearity of power electronic elements
    2. Different WPP converters solutions
      1. brief description of different solutions
    3. Full Rated Converter approach for Wind Turbines
      1. different FRC converters
  2. Harmonics
    1. Introduction
    2. Mathematical description
    3. Sources of harmonics in Power System
    4. Harms caused by harmonics in Power System
    5. Mitigation of harmonics in Power System
      1. Limit production
      2. Filters
    6. Harmonics analysis